## Slide 1: Preventing Alzheimer’s Disease with Cognitive Training: The PACT Trial
Biospecimen Collection and Shipment training

## Slide 2: Training Overview
Study Specimen Collection Overview
NCRAD Kit Request Module
Specimen Labeling Instruction
Specimen Collection and Processing
Specimen Packaging and Shipment Instruction
Creating Airbills and Scheduling Pickups
Non-Conformance Issues
Contact Information

## Slide 3: PACT Specimen Collection
Samples will be collected and processed during Baseline Visit and Final Clinical Evaluation.
Plasma and Buffy Coat will be frozen and shipped to NCRAD for both visits
Specimen Type | All Visits
Plasma | X
Buffy Coat (DNA) | X

## Slide 4: Kit Request Module
Ordering blood kit supplies
Ordering frozen specimen shipment supplies
Please allow two to three weeks for orders to be processed and delivered to your site
kits.iu.edu/PACT

## Slide 5: Kit Request Module Instruction
Verify site shipping address and contact information
Choose kit order amount
  Specimen Collection Kit
  Frozen Shipping Supply Kit
  Supplemental Kit
  Extra Supplies
Rush order or special comments
*Reminder: allow two to three weeks for orders to be processed and delivered to your site
Notes: Please do not order in bulk. Kits do expire. Plan for a month in advanced

## Slide 6
Specimen Labeling Instruction

## Slide 7: Specimen Labeling Instructions: Label Type and Placement
Ties all visit samples and packaging together.
Must be placed on:
Whole-Blood 10 ml EDTA Tube (Purple-Top)
Blood Sample and Shipment Notification Form
Cryo-Box that houses processed aliquots
Kit Number Label
Participant ID Label
Unique PACT Participant ID written by site and initials of blood processing staff
Must be placed on:
Whole-Blood 10 ml EDTA Tube (Purple-Top)
Cryovial Label
Contains Specimen Number, Specimen Type, and Kit Number.
Must be placed on corresponding specimen type:
Cryovials 2 ml for aliquoted Plasma (Purple-Top) OR
Cryovials 2 ml for aliquoted Buffy Coat (Clear-Top)

## Slide 8: Specimen Labeling Instruction: Label Placement Details
Write participant ID and initials with fine-point marker prior to label placement
Place all labels on Whole-Blood EDTA 10 ml tube and Cryovial 2 ml before blood collection, processing, or freezing
Label collection tubes and cryovials for one subject at a time in order to avoid mix ups.
Wrap labels horizontally and adhere completely to all tubes
Collection Tube Labeling
Cryovial
Labeling

## Slide 9: Specimen Collection and Processing

## Slide 10: Specimen Collection and Processing: Specimen Tube Types
Type | Cap Color | Size | Purpose | Amount
EDTA Tube | Purple | 10 ml | Whole blood collection | 2
Conical Tube | Orange | 15 ml | Pooling plasma from EDTA tubes | 1
Cryovial | Lavender | 2 ml | 1.5 ml aliquots of plasma from conical tube | Up to 7
Cryovial | Blue | 2 ml | Aliquot residual plasma <1.5 ml after filling lavender top cryovials | 1
Cryovial | Clear | 2 ml | ~1.0 ml aliquots of buffy coat from EDTA tubes | 2
Notes: You do not have to use all 7 lavender top cryovials. Fill each lavender top cryovial individuals to 1.5 ml and place the remaining plasma into blue top cryovial. Ex: 5 1.5 lavender .5 blue

## Slide 11: Specimen Collection and Processing: Blood Collection and Specimen Processing

## Slide 12: Specimen Collection and Processing: Plasma Collection
Processed plasma creates up to seven
1.5 ml aliquots in lavender-top cryovials
Residual plasma is placed in blue-top cryovial
10 ml EDTA tubes after centrifuge
15 ml conical after inversion

## Slide 13: Specimen Collection and Processing: Buffy Coat Collection
Aliquot ~1.0 buffy coat into two clear-capped cryovials
The buffy coat aliquot is expected to have a reddish color from the RBCs
Buffy Coat

## Slide 14
Specimen Packaging, Labeling & Forms

## Slide 15: Frozen Shipment Packaging
All samples shipped frozen to NCRAD Monday-Wednesday ONLY
Hold packaged samples in a -80°C freezer until pickup
Include copy of Blood Sample Shipment and Notification Form
Batch samples together (8 cryoboxes)

## Slide 16: Frozen Shipment Tutorial
https://ncrad.org/shipping_address.html

## Slide 17: Specimen Packaging and Shipment: Frozen Specimen Packaging
Step 1. Place frozen cryobox in biohazard bag with absorbent sheet
Important: Confirm kit number label has been placed on the outside of cryobox
Each Styrofoam shipper can contain up to 8 cryoboxes

## Slide 18: Specimen Packaging and Shipment: Frozen Specimen Packaging
Step 2. Place 2-3 inches of dry ice in the bottom of the styrofoam shipping container
Step 3. Insert up to 8 cryoboxes with tubes laying upright
Step 4. Fully cover all cryoboxes with 2 inches of dry ice
Step 5. Place Styrofoam shipping container into cardboard shipping container
Notes: If samples freeze at an angle or upside down it ruins the quality of the sample.

## Slide 19: Blood Sample and Shipment Notification Form
Step 6.Include Blood Sample & Shipment Notification Form in Large Cardboard Shipper
Fill out completely during study visit
Include Kit Number Label on Form
Take a copy of each form prior to shipment. E-mail or fax NCRAD for notification
  Email: alzstudy@iu.edu
  Fax: 317-321-2003
Notes: You will need one physical form included in shipment and also send an electronic copy to us before your package goes out. If there are 8 cryboxes, we should receive 8 of these forms.

## Slide 20: Specimen Packaging and Shipment: Cardboard Package Labeling
Net weight of dry ice in kg
Your name & address
Repository name & address
Number of packages in shipment and dry ice in kg
Net weight of dry ice in kg
Dangerous Goods Label
Additional Training Required
20
Step 7.
Notes: 20 kg is 40 lbs

## Slide 21
Creating Airbills & Scheduling Pickups

## Slide 22: Navigating UPS ShipExec Tutorial
https://ncrad.org/shipping_address.html

## Slide 23: UPS ShipExecTM Thin Client Website
Log into the ShipExec Thin Client: https://kits.iu.edu/UPS
Click on the “Shipping” dropdown and click on “Shipping and Rating”

## Slide 24: Creating Airbills & Scheduling Pick Ups: Finding your Contact Information
On the right side of the screen, choose the name of your study from the “Study Group” drop down menu
  This step must be done 1st
On the left side of the screen, Click on the magnifying glass icon

## Slide 25
On the right side of the screen, a list of all the site addresses within the study you selected should populate
User can filter the search for their address further by filling in the “Company”, “Contact”, or “Address 1” fields
Please verify that both the shipping information AND study reference are correct for this shipment
If any information needs to be updated, please reach out to the NCRAD Coordinator of your study
Creating Airbills & Scheduling Pick Ups: Finding your Contact Information

## Slide 26
    Enter the total weight of your package in the “Weight” field
    Enter the dry ice weight in the “Dry Ice Weight” field
      The “Dry Ice Weight” field cannot be higher than the “Weight” field (will receive an error message)
Creating Airbills & Scheduling Pick Ups: Entering Shipment Information

## Slide 27: Creating Airbills & Scheduling Pick Ups: Scheduling Pickup Request
Click on the “Pickup Request” button
Fill out all fields for the pickup request
Enter in the “Earliest Time Ready” and “Latest Time Ready” in 24-hour format
Choose a name and number that is the best to contact if the UPS driver has questions related to picking up your package
Entering the Room Number and Floor will help the UPS driver locate your package
Hit “Save” when done

## Slide 28
If all fields in “Ship From” and “Shipment Information” fields are completed, and pickup request is completed (if necessary) then click “Ship” in the bottom right corner of the page
Creating Airbills & Scheduling Pick Ups: Shipping Packages

## Slide 29
Check Pickup Status by going to UPS.com, click on the Shipping, select Schedule a Pickup, and look on the right side of screen to click on “Pickup Request Status”. Enter in the Pickup No. listed on receipt into PRN field and submit

## Slide 30
Print out the UPS air waybill
Fold the UPS Air Waybill and slide it inside the plastic UPS Sleeve (Provided by NCRAD)
Peel the back off the plastic UPS sleeve and stick the sleeve to cardboard package
  Make sure it is laying as flat as possible along the surface of the package.
Creating Airbills & Scheduling Pick Ups: Shipping Packages

## Slide 31
To reprint airbill or void a shipment, click “History” at the top of the ShipExec Thin Client portal
If your shipment doesn’t automatically pop up, enter in the date of shipment and then click “Search”
Reprint
Void
Creating Airbills & Scheduling Pick Ups: Reprinting/Voiding Airbills

## Slide 32
Non-Conformance Issues

## Slide 33
Non-Conformance | Solution
Low volume aliquots | Put cryovials in a row, aliquoting in order until sample is depleted
Tubes received frozen at an angle/inverted | Carefully place tubes upright in freezer and in shipper
Aliquots are not labeled or labeled incorrectly | Refer to training or MOP for correct label placement. Save all labels until samples are packed for shipping.
All frozen samples for one participant are not sent within one shipment box | Keep plasma and buffy coat for individual subjects together. Use one cryobox per subject
Fields on Blood Sample and Shipment Form left blank or incorrect data is given | Complete Blood Sample and Shipment Form during participant’s study visit while samples are processed
Blood Sample and Shipment Forms are not e-mailed or faxed to NCRAD before shipment arrives | Make copy of participants completed form after visit and save until shipment.

## Slide 34: Contact Information
Questions?
Please Contact NCRAD Coordinator at:
  Phone: 1-800-526-2839
  PACT Coordinator E-mail: eridelan@iu.edu
  NCRAD General E-mail: alzstudy@iu.edu
  Website: www.NCRAD.org